**TCEQ RULES FOR IRRIGATION SYSTEMS: TAC (TEXAS ADMINISTATIVE CODE) CHAPTER 344**

***ALL*** properties with an irrigation system shall have an RP/RPX, (Reduced Pressure Zone Assembly- Backflow Assembly), properly installed to isolate the irrigation system from the service line. **\***At the applicants’ expense, the RP/RPZ will be inspected by a state licensed Backflow Prevention Assembly Tester and The Wate Supply Corporation shall be provided with the written test results upon installation and annually thereafter.